## Cover
Guidance for stakeholders making representations on PR19 draft determinations
The deadline for making representations on the draft determinations is 10 am on 30 August 2019. This deadline is set in order for us to have sufficient time to give conscientious consideration to representations ahead of making our final determinations, which will be published on 11 December 2019.
Representations from water companies
To ensure we have sufficient information to effectively take account of representations for the final determinations, we are asking companies to complete this representations pro forma. Completing the pro forma will help companies to maximise the impact of their representations on the draft determinations, as they will enable us to better identify what the issues are that we need to address. This pro forma contains four tables:
 RP1 – Evidence summary for cost assessment purposes
 RP2 – Draft determination action and interventions response summary
 RP3 – Other issues summary (except cost assessment)
 RP4 – Schedule of data requirements for the final determination
There is one pro forma for all water companies to use.
We expect companies to publish their representations on the draft determination including any updated business plan tables.
All elements of company representations should be uploaded to Ofwat's PR19 Data capture in Sharepoint. Companies may also email representations to PR19@ofwat.gov.uk We will consider all representations when making our draft determinations. However, representations that do not provide further evidence to support a view that differs from those set out in the draft determinations are unlikely to result in changes in the final determinations.
Further explanation on the purpose of each table can be found in the guidance section and on our website.

## RP1
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP1) | [7 empty] | Northumbrian Water
NES
Evidence summary for cost assessment purposes
Guidance: In this table, companies are advised to provide and signpost further evidence: l in support of their existing costs; l of where their costs have changed; l in support of the cost variance relative to the draft determination i.e. how much do their costs need to change by compared to the draft determination. Companies should only submit relevant cost tables where costs have changed. Companies should indicate clearly in red formatting what those changes are when compared to 1 April 2019 submission (for fast track companies, 3 September 2018 or 11 February 2019 submitted data as appropriate). This information will allow us to identify where there are remaining gaps between our view and company views of costs. In addition this information will allow us to come to a view of a company’s final cost submission, for use in the calculation of cost sharing rates. If a company has not changed its view on costs in response to our draft determination then it should clearly state that this is the case. If the company agrees with our view of costs, it should clearly state this is the case. If a company does not include any lines in this table then we will assume that no gap remains with our view on costs.
Reference | Area | Draft determination allowance (£m) | Company view of the final determination (£m) | Variance (£m) | Price control(s) affected | Business plan table(s) affected | Item reference(s) | Signpost to representation evidence
XXX.DD.CA1 | e.g. Base costs / Enhancement line / Name of cost adjustment claim | 145 | 165 | 20 | Water resources, Water network plus, Wastewater network plus, Bioresources, Residential retail, Business retail, Dummy control | Table number, line number and line description | Item reference(s) | Document name, page and paragraph references
NES.DD.CA1 | Reduce flooding risk for properties | 0 | 86 | 86 | Wastewater network plus | WWS2, line 30, Reduce flooding risk for properties |  | Northumbrian Water Draft Determination - Company Representation, page 15-16, section 3.3.1; Appendix; Supporting Documents - 3.3.1 Reducing Property Flooding Risk; Appendix; Supporting Documents - 3.3.1 Environment Agency Letter
NES.DD.CA2 | Essex Resilience - Abberton to Hanningfield Transfer Main | 0 | 20.35 | 20.35 | Water network plus | WS2, line 14, Resilience |  | Northumbrian Water Draft Determination - Company Representation, page 16-17, section 3.3.2; Appendix; Supporting Documents – 3.3.2 Essex Resilience – Abberton to Hanningfield Transfer Main
NES.DD.CA3 | Suffolk resilience | 0 | 14.2 | 14.2 | Water network plus | WS2, line 14, Resilience |  | Northumbrian Water Draft Determination - Company Representation, page 17-18, section 3.3.3; Appendix; Supporting Documents – 3.3.3 Suffolk Resilience
NES.DD.CA4 | Howdon STW resilience scheme | 0 | 14.7 | 14.7 | Wastewater network plus | WWS2, line 27, Resilience |  | Northumbrian Water Draft Determination - Company Representation, page 18-19, section 3.3.4; Appendix; Supporting Documents – 3.3.4 Howdon STW Resilience Enhancement
NES.DD.CA5 | Drainage and Wastewater Management Plans | 0 | 9.2 | 9.2 | Wastewater network plus | WWS2, line 30, Reduce flooding risk for properties |  | Northumbrian Water Draft Determination - Company Representation, page 19, section 3.3.5
NES.DD.CA6 | Wastewater WINEP | 144.7 | 173.9 | 29.2 | Wastewater network plus | WWS2, lines 15 to 21, WINEP / NEP ~ various |  | Northumbrian Water Draft Determination - Company Representation, page 19-21, section 3.3.6; Appendix; Supporting Documents – 3.3.6 Wastewater WINEP
NES.DD.CA7 | Raw Water Deterioration Enhancements - Layer and Mosswood WTWs | 26.4 | 34.8 | 8.4 | Water network plus | WS2, line 13, Investment to address raw water deterioration (THM, nitrates, Crypto, pesticides, others) |  | Northumbrian Water Draft Determination - Company Representation, page 21-22, section 3.3.7; Appendices; Supporting Documents – 3.3.7 Layer Final Decision Letter and 3.3.7 Mosswood Final Decision Letter; 3.3.7 Layer Reg 28 Notice a; 3.3.7 Layer Reg 28 Notice b; 3.3.7 Mosswood Reg 28 Notice a and 3.3.7 Mosswood Reg 28 Notice b; 3.3.7 Layer Business Case and 3.3.7 Mosswood Business Case
NES.DD.CA8 | STW and SPS Flood Risk Enhancement | 33.3 | 36.6 | 3.3 | Wastewater network plus | WWS2, line 27, Resilience |  | Northumbrian Water Draft Determination - Company Representation, page 22, section 3.3.8
NES.DD.CA9 | Wearside Resilience | 30.8 | 34.1 | 3.3 | Water network plus | WS2, line 14, Resilience |  | Northumbrian Water Draft Determination - Company Representation, page 22-23, section 3.3.9; Appendix; Supporting Documents – 3.3.9 Wearside Resilience
NES.DD.CA10 | Traffic Management Act (TMA) | 6 | 6 | 0 | Water network plus | WS2, line 24, TMA - no longer used |  | Northumbrian Water Draft Determination - Company Representation, page 23, section 3.3.10
NES.DD.CA11 | SEMD & Security | 0 | 2.15 | 2.15 | Water network plus | WS2, line 15, SEMD |  | Northumbrian Water Draft Determination - Company Representation, page 23, section 3.3.11
NES.DD.CA12 | Strategic Regional Water Resource Solutions | 0 | 0.425 | 0.425 | Water resources | WS2, line 26, Strategic regional water resource solutions |  | Northumbrian Water Draft Determination - Company Representation, page 23, section 3.3.12; Appendix; Supporting Documents – 3.3.12 Strategic Regional Water Resource Solutions
NES.DD.CA13 | Base Costs |  |  | 0 | Dummy control | n/a |  | Northumbrian Water Draft Determination - Company Representation, page 13-14, section 3.2
KEY
Inputs cells
Calculated cells
Copied cells

## RP2
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP2) |  | Northumbrian Water
NES
Draft determination action and interventions response summary
Guidance: In this table, companies are required to signpost evidence from their representation of how they have responded to: l any further actions set out in their draft determination action and intervention summary documents; l other actions set out in their draft determination company specific documents; and l generic actions for all companies required by Ofwat. In addition, where companies make representations on issues connected to existing actions or interventions set out in the policy area action and intervention documents, we request that these are signposted in this table.
Action reference or DD document reference | Draft determination action description | Signpost to representation evidence
e.g. XXX.RR.A8 | We expect the company to provide Board assurance to confirm how the financeability and financial resilience of the actual structure will be maintained in the context of our draft determination. | Document name, page and paragraph references
e.g. DD summary, section 5.1 | We request that the company provides a restated and compliant Board assurance statement that its plan is financeable on both the notional and actual structures. | Document name, page and paragraph references
e.g. Generic | We require all companies to demonstrate that they are financeable on a notional and actual basis using our draft determination version of the financial model. | Document name, page and paragraph references
Delivering outcomes for customers NES.OC.A24 | Risk of severe restriction in a drought PC. This is a sector wide action. The company should provide a full set of intermediate calculations at a zonal level, underlying the risk calculation (for both baseline levels and performance commitment). The company should confirm that its performance commitment levels are reflective of its water resources management plan position. This should include the potential that it will have access to drought orders and permits The company should confirm which programmes of work will impact its forecasts. The company should confirm which schemes will impact its forecasts. | Northumbrian Water Draft Determination - Company Representation, page 30, section 6.1
Delivering outcomes for customers NES.OC.A25 | Risk of sewer flooding in a storm PC. The company should confirm that it is: using the updated parameters in the catchment vulnerability assessment; reporting the extent they use 2d or simpler modelling; and adopting FEH13 rainfall as standard and if not when expect to do so. | Northumbrian Water Draft Determination - Company Representation, page 30-31, section 6.2
Delivering outcomes for customers NES.OC.A66 | Wastewater resilience programme PC. The company should provide latest information on the timing of the schemes including any further milestone deliverables that could be assessed as discrete elements in its representations to the draft determination. | Northumbrian Water Draft Determination - Company Representation, page 31, section 6.3
Securing long term resilience NES.LR.C1 | We expect companies to provide further Board assurance, in their responses to the draft determination, that they will remain financeable on a notional and actual basis, and that they can maintain the financial resilience of their actual structure, taking account of the reasonably foreseeable range of plausible outcomes of their final determination, including evidence of further downward pressure on the cost of capital in very recent market data as we discuss in the ‘Cost of capital technical appendix’. | Northumbrian Water Draft Determination - Company Representation, page 31-32, section 6.4
Securing cost efficiency NES.CE.A1 | We provide our view of efficient costs for the company along with our reasoning. We expect the company to continue to address areas of inefficiency and lack of evidence. | Northumbrian Water Draft Determination - Company Representation, page 32, section 6.5
Securing cost efficiency NES.CE.A3 | Company to provide evidence to confirm DWI agreement with its submitted plans/revised undertakings and that no metaldehyde specific treatment or product substitution costs are included in the requested allowance. | Northumbrian Water Draft Determination - Company Representation, page 32-33, section 6.6
Aligning risk and return NES.RR.C3 | We expect companies to update their overall RoRE risk range analysis in updated App26 submissions as part of their response to the draft determination. | Northumbrian Water Draft Determination - Company Representation, page 33, section 6.7
Accounting for past delivery NES.PD.A1 | In its representations on the draft determinations the company should ensure that tables App5 (PR14 reconciliation – performance commitments) and App27 (PR14 reconciliation – ODI summary) reconcile, and both tables contain values that have not been adjusted for tax. | Northumbrian Water Draft Determination - Company Representation, page 33, section 6.8
Securing confidence and assurance NES.CA.A4 | We expect Northumbrian Water to be transparent about how the dividend policy in 2020-25 takes account of obligations and commitments to customers and to demonstrate that in paying or declaring dividends it has taken account of the factors we set out in our position statement. We expect the company to respond to this issue in its response to our draft determination. We expect the company to demonstrate that its dividend policy for 2020-25 takes account of obligations and commitments to customers and other stakeholders, including performance in delivery against the final determination. In doing so, the company should refer to the examples of best practice we have identified among companies. We also expect the company to clarify its proposed base dividend yield for the period 2020-25. | Northumbrian Water Draft Determination - Company Representation, page 33-34, section 6.9
Securing confidence and assurance NES.CA.A5 | [Executive Pay] There remain some details to be finalised, for example evidence of how the targets in the long term bonus will be stretching and further evidence to demonstrate alignment of incentives to substantial delivery for customers. Once finalised, we expect Northumbrian Water to provide an update in its response to the draft determination to demonstrate that it is committed to meet the expectations we have set out in ‘Putting the sector in balance’ position statement. We expect the company and its remuneration committee to ensure its performance related executive pay policy demonstrates a substantial link to performance delivery for customers through 2020-25 and is underpinned by targets that are stretching. Trust and confidence can best be maintained where stretching performance is set by reference to the final determination and taking account of stretching regulatory benchmarks (for example delivery of upper quartile performance) and should include a commitment that it will continually assess performance targets to ensure targets will continue to be stretching throughout 2020-25. We expect the company to report transparently, in its annual performance report, about further updates to the development of its policy that will apply in 2020-25. | Northumbrian Water Draft Determination - Company Representation, page 34-35, section 6.10
KEY
Inputs cells
Calculated cells
Copied cells

## RP3
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP3) |  |  | Northumbrian Water
NES
Others issues summary (except cost assessment)
Guidance: In this table, companies are invited to provide and signpost evidence of where they have identified: l new issues that they consider need to be addressed for the final determination (all areas except cost assessment); l actions that they consider need to be completed for the final determination e.g. errors or inconsistencies in Ofwat assessments. This table should not include issues related to an existing action or intervention. Items related to existing actions and interventions should be listed in table RP2.
New issue reference | New issue or action identified by the company | Proposed change to the draft determination | Signpost to representation evidence
NES.DD001 | The balance of risk and return / DD package as a whole | We do not accept the Draft Determination package as a whole, and in the context of this package we do not accept the WACC reduction which Ofwat has applied at Draft Determination. It logically follows that we could not accept any further reduction at Final Determination. We consider Ofwat’s ‘early view’ of the WACC, as set out in the IAP, appropriate. | Northumbrian Water Draft Determination - Company Representation, page 6-7, section 2
NES.DD002 | "Financeability of the Notionally Efficient Firm" | Ofwat’s Draft Determination implies a downside asymmetric level of risk for the notional efficient company. Ofwat’s justifications for its step change approach are incorrect and the level of challenge is not justified. | Northumbrian Water Draft Determination - Company Representation, page 7-8, section 2.1; Appendix Other Documents; Economic Insight - “Financeability of the Notionally Efficient Firm”
NES.DD003 | Anglian Water - Notional Company Financeability | Anglian Water’s recent paper “PR19 – Notional Company Financeability” reinforces many of the points that we make in this response. | Northumbrian Water Draft Determination - Company Representation, page 8-9, section 2.2
NES.DD004 | WACC - Technical Points | In our view, the cost of capital should be considered with financeability in mind. Should the cost of capital be set at a level that causes financeability issues for the notional efficient firm, then it should be reconsidered. | Northumbrian Water Draft Determination - Company Representation, page 9, section 2.3
NES.DD005 | Interpretation of Short Term Share Price Movements | We urge Ofwat to take a longer term view in its assessments. | Northumbrian Water Draft Determination - Company Representation, page 9, section 2.3.1
NES.DD006 | Market to Asset Ratios (MAR) | Ofwat should use the full MAR data range in its assessment of WACC. | Northumbrian Water Draft Determination - Company Representation, page 9, section 2.3.2
NES.DD007 | Ratio of New to Embedded Debt | Ofwat should reconsider its current use of 20% new debt in the ratio. | Northumbrian Water Draft Determination - Company Representation, page 9-10, section 2.3.3
NES.DD008 | Cost of New Debt | Ofwat should correct a fundamental inconsistency in its assumptions. Ofwat should also remove the halo effect from its calculations. | Northumbrian Water Draft Determination - Company Representation, page 10, section 2.3.4
NES.DD009 | Calculation of PAYG Rates | We consider that Ofwat’s approach to calculating PAYG rates is incorrect, and represents a departure from the natural rate. | Northumbrian Water Draft Determination - Company Representation, page 10-11, section 2.4
NES.DD010 | Ofwat's Approach to Assessing Financeability | There is a mismatch between the Ofwat Financial Model and the approach taken by the rating agencies. | Northumbrian Water Draft Determination - Company Representation, page 11, section 2.5
NES.DD011 | PAYG - Treatment of Infrastructure Renewals Expenditure (IRE) | We observe inconsistent treatment of IRE in PAYG across the industry. | Northumbrian Water Draft Determination - Company Representation, page 12, section 2.6
NES.DD012 | Totex Allowances | We note that Ofwat has changed its PR19 methodology so that it sets totex allowances entirely on the baseline rather than combining this with the reconciliation of cost out or underperformance based on business plan costs. This change in policy, which was implemented as part of the Draft Determination, was not consulted on but simply signaled in the Draft Determination Cost Efficiency Appendix. It increases the financeability consequences of totex overspends, which will now be borne 100% by the company until a reconciliation in PR24. | Northumbrian Water Draft Determination - Company Representation, page 13, section 3.1
NES.DD013 | Unplanned Outage PC | We do not accept the further interventions that Ofwat has applied to this PC. | Northumbrian Water Draft Determination - Company Representation, page 25, section 4.1; Appendix 4.1 Unplanned Outage PC
NES.DD014 | Thresholds for Enhanced Outperformance Payments | We are pleased that Ofwat has listened to our response to the IAP and accepted higher enhanced reward rates, but we do not accept Ofwat’s decision to further tighten the thresholds at which they apply. | Northumbrian Water Draft Determination - Company Representation, page 25-26, section 4.2
NES.DD015 | Internal Sewer Flooding PC - Penalty Collar | We do not accept Ofwat’s decision to remove the underperformance collar for this PC. | Northumbrian Water Draft Determination - Company Representation, page 26, section 4.3; Appendix 4.3 Internal Sewer Flooding Penalty Collar
NES.DD016 | Bespoke Flood Risk PC | If Ofwat continues to disallow the associated enhancement, then we request that this PC is removed. | Northumbrian Water Draft Determination - Company Representation, page 26, section 4.4
NES.DD017 | C-MEX | We are supportive of the C-Mex approach, but think that Ofwat has set an unreasonably high bar for standard and enhanced rewards. | Northumbrian Water Draft Determination - Company Representation, page 26-27, section 4.5
NES.DD018 | Leakage | We are pleased that Ofwat accepts our proposed % reductions, but do not accept Ofwat’s decision to adjust the way in which the baseline is calculated. | Northumbrian Water Draft Determination - Company Representation, page 27, section 4.6
NES.DD019 | Customer Protection PCs - Smart Metering and Lead Enhancement Programmes | We do not accept the changes that Ofwat has applied to these PCs. | Northumbrian Water Draft Determination - Company Representation, page 27, section 4.7
NES.DD020 | Customer Protection PC - Cyber Resilience Enhancement Programme | We are pleased that Ofwat has funded this enhancement and accept the corresponding PC, however we wish to clarify a point of detail. | Northumbrian Water Draft Determination - Company Representation, page 27, section 4.8.1
NES.DD021 | ODI Outperformance - Customer Protection (50 / 50 Sharing) | We are pleased that Ofwat has accepted this aspect of our plan, however we wish to clarify one point of detail. | Northumbrian Water Draft Determination - Company Representation, page 28, section 4.8.2
NES.DD022 | Carbon Emissions PC | We remain committed to our PC, but wish to re-baseline our PC levels in response to a significant change expected to the Carbon Accounting Workbook. | Northumbrian Water Draft Determination - Company Representation, page 28, section 4.8.3; Appendix 4.8.3 Carbon Emissions PC
NES.DD023 | WINEP Delivery PC | We simply request that the proposed delivery profile is updated, if required, in line with any changes agreed through the EA’s change control protocol. | Northumbrian Water Draft Determination - Company Representation, page 28, section 4.8.4
NES.DD024 | Water Trading Export Incentive | We do not agree with Ofwat’s decision to disallow our water trading import incentive claim for our trade with Thames Water. | Northumbrian Water Draft Determination - Company Representation, page 29, section 5.1
NES.DD025 | Past Delivery: Service Incentive Mechanism | We were surprised to see Yorkshire Water classed with a higher SIM score than NWL in Table 3.1 of the past delivery appendix. Unless there has been a restatement of their Table R10, we calculate Yorkshire’s four year average score to be nearer 83.6. Please can Ofwat review its calculations in this regard. | Northumbrian Water Draft Determination - Company Representation, page 29, section 5.2
NES.DD026 | Bill Reduction | If Ofwat accept our representations, we calculate that the average bill reduction would revert from a 25.7% reduction quoted in the Draft Determination to a reduction consistent with our business plan of 21%, if we use the average combined bill as generated by the financial model. | Northumbrian Water Draft Determination - Company Representation, page 29, section 5.3
KEY
Inputs cells
Calculated cells
Copied cells

## RP4
Setting expectations for companies' representations on the 2019 draft determinations
PR19 Draft determination representation table (RP4) |  |  | Northumbrian Water
NES
Schedule of data requirements for the final determination
Guidance: This table sets out: l those business plan tables we expect companies to resubmit in light of our draft determinations; l specific data we require for the final determination; and l confirmation of other business plan tables companies are choosing to resubmit in support of their representations. Companies should only resubmit tables where changes have been made from their 1 April 2019 submission (for fast track companies, 3 September 2018 or 11 February 2019 submitted data as appropriate). All changes should be highlighted in red formatting in the tables. We expect companies to publish the updated tables they submit to Ofwat as part of their representation on the draft determinations.
Table number | Table description | Reason for resubmission | Required for
WS1 | Wholesale water operating and capital expenditure by business unit |  | All companies (and for Portsmouth Water only, a separate table WS1 for Havant Thicket)
WS2 | Wholesale water capital and operating enhancement expenditure by purpose |  | All companies
WWS1 | Wholesale wastewater operating and capital expenditure by business unit |  | Wastewater companies
WWS2 | Wholesale wastewater capital and operating enhancement expenditure by purpose |  | Wastewater companies
Dmmy1 | Dummy price control operating and capital expenditure by business unit |  | Thames Water
R1 | Residential retail |  | All companies
R4 | Business retail ~ Welsh companies |  | Dŵr Cymru and Hafren Dyfrdwy
R5 | Business retail ~ non-exited companies operating in England |  | Yorkshire Water
APP26 | RoRE Scenarios | As set out in the risk and return actions and interventions tracker we expect all companies to resubmit App26. | All companies
PR19 draft determinations - Outcomes representations data submission | Performance commitments (PCs) and outcome delivery incentives (ODIs) | To provide a new set of P10s and P90s for each outcome where we have intervened and the overall P10 and P90 for ODIs as the ODIs are set in the draft determinations. To provide shadow reporting of 2018-19 actual performance. | All companies
PR19 draft determinations - Developer services data request | Developer services - Wholesale water Developer services - Wholesale wastewater | A data request which builds on the all-company query we issued in April 2019. We have refined our definitions, particularly with regard to self-lay activity in order to improve the consistency of the data across the industry. | All companies Wastewater companies
KEY
Inputs cells
Calculated cells
Copied cells

## Data validation (hidden)
Company name | Acronym | CA | Price control | DD
Select company | XXX | DD.CA1 | Water resources | DD001
Affinity Water | AFW | DD.CA2 | Water network plus | DD002
Anglian Water | ANH | DD.CA3 | Wastewater network plus | DD003
Bristol Water | BRL | DD.CA4 | Bioresources | DD004
Dŵr Cymru | WSH | DD.CA5 | Residential retail | DD005
Hafren Dyfrdwy | HDD | DD.CA6 | Business retail | DD006
Northumbrian Water | NES | DD.CA7 | Dummy control | DD007
Portsmouth Water | PRT | DD.CA8 |  | DD008
SES Water | SES | DD.CA9 |  | DD009
Severn Trent England | SVE | DD.CA10 |  | DD010
Southern Water | SRN | DD.CA11 |  | DD011
South East Water | SEW | DD.CA12 |  | DD012
South Staffs Water | SSC | DD.CA13 |  | DD013
South West Water | SWB | DD.CA14 |  | DD014
Thames Water | TMS | DD.CA15 |  | DD015
United Utilities | UU | DD.CA16 |  | DD016
Wessex Water | WSX | DD.CA17 |  | DD017
Yorkshire Water | YKY | DD.CA18 |  | DD018
|  | DD.CA19 |  | DD019
|  | DD.CA20 |  | DD020
|  | DD.CA21 |  | DD021
|  | DD.CA22 |  | DD022
|  | DD.CA23 |  | DD023
|  | DD.CA24 |  | DD024
|  | DD.CA25 |  | DD025
|  | DD.CA26 |  | DD026
|  | DD.CA27 |  | DD027
|  | DD.CA28 |  | DD028
|  | DD.CA29 |  | DD029
|  | DD.CA30 |  | DD030
|  | DD.CA31 |  | DD031
|  | DD.CA32 |  | DD032
|  | DD.CA33 |  | DD033
|  | DD.CA34 |  | DD034
|  | DD.CA35 |  | DD035
|  | DD.CA36 |  | DD036
|  | DD.CA37 |  | DD037
|  | DD.CA38 |  | DD038
|  | DD.CA39 |  | DD039
|  | DD.CA40 |  | DD040
|  | DD.CA41 |  | DD041
|  | DD.CA42 |  | DD042
|  | DD.CA43 |  | DD043
|  | DD.CA44 |  | DD044
|  | DD.CA45 |  | DD045
|  | DD.CA46 |  | DD046
|  | DD.CA47 |  | DD047
|  | DD.CA48 |  | DD048
|  | DD.CA49 |  | DD049
|  | DD.CA50 |  | DD050
|  | DD.CA51 |  | DD051
|  | DD.CA52 |  | DD052
|  | DD.CA53 |  | DD053
|  | DD.CA54 |  | DD054
|  | DD.CA55 |  | DD055
|  | DD.CA56 |  | DD056
|  | DD.CA57 |  | DD057
|  | DD.CA58 |  | DD058
|  | DD.CA59 |  | DD059
|  | DD.CA60 |  | DD060
|  | DD.CA61 |  | DD061
|  | DD.CA62 |  | DD062
|  | DD.CA63 |  | DD063
|  | DD.CA64 |  | DD064
|  | DD.CA65 |  | DD065
|  | DD.CA66 |  | DD066
|  | DD.CA67 |  | DD067
|  | DD.CA68 |  | DD068
|  | DD.CA69 |  | DD069
|  | DD.CA70 |  | DD070
|  | DD.CA71 |  | DD071
|  | DD.CA72 |  | DD072
|  | DD.CA73 |  | DD073
|  | DD.CA74 |  | DD074
|  | DD.CA75 |  | DD075
|  | DD.CA76 |  | DD076
|  | DD.CA77 |  | DD077
|  | DD.CA78 |  | DD078
|  | DD.CA79 |  | DD079
|  | DD.CA80 |  | DD080
|  | DD.CA81 |  | DD081
|  | DD.CA82 |  | DD082
|  | DD.CA83 |  | DD083
|  | DD.CA84 |  | DD084
|  | DD.CA85 |  | DD085
|  | DD.CA86 |  | DD086
|  | DD.CA87 |  | DD087
|  | DD.CA88 |  | DD088
|  | DD.CA89 |  | DD089
|  | DD.CA90 |  | DD090
|  | DD.CA91 |  | DD091
|  | DD.CA92 |  | DD092
|  | DD.CA93 |  | DD093
|  | DD.CA94 |  | DD094
|  | DD.CA95 |  | DD095
|  | DD.CA96 |  | DD096
|  | DD.CA97 |  | DD097
|  | DD.CA98 |  | DD098
|  | DD.CA99 |  | DD099
|  | DD.CA100 |  | DD100